Demand-Aware Price Policy Synthesis and Verification Services for Smart Grids
T. Mancini, F. Mari, I. Melatti,
I. Salvo, and E. Tronci
CS Dept, Sapienza, Rome, Italy
Jorn Klaas Gruber, Barry Hayes,
and Milan Prodanovic
Instituto IMDEA Energía, Spain
Lars Elmegaard
SEAS-NVE, Denmark
SmartGridComm 2014, Venice, Italy
November 3-6, 2014

---
Outline
- Management of Electrical Distribution Networks
- Our service-based methodology
- Experimental Results

---
Motivations
Goals
in management of Electric Distribution Networks (EDN):
- Maximize income (retailer)
- Reduce demand peaks (Distribution System Operator, DSO)
We present a service-based methodology to manage EDN, reaching the two goals above

---
System Architecture
EDN Virtual Tomography
Demad-Aware Price Policy
Price Policy Safety Verification

---
Reference Evaluaiton Scenario
- Feeder nominal power is 400 KVA
- DSO requirements: user aggregated demand always less than 80% of nominal power (320 KVA)
- 130 homes for 1 year (Oct. 2012–Oct. 2013)

---
System Architecture
EDN Virtual Tomography
Demad-Aware Price Policy
Price Policy Safety Verification

---
DAPP
Goal: Proposing to customers individual, yet fair, price	policies to steer energy demand on the EDN
Uses Mixed Integer Linear Programming (MILP)

---
DAPP – Advancements wrt State of Art
- Individualized demand-aware price policies
- Price policies synthesis starting from DSO system level specifications
- Considers local generation

---
DAPP – Experimental Results
Historical customer profile
Adopts EBR
DAPP
Collaborative
Customer
follows
DAPP
profile

House 11

---
DAPP – Experimental Results
House 1
House 5
Individualized profiles

---
DAPP – Experimental Results
Peak Shaving
on Aggregated demand
Evidence
- DAPP is close to user habits
- DAPP enables money saving
- If customers follow DAPP
  - No peaks beyond nominal value
  - No energy flows from homes to Substation
Oct, 2013
Oct, 2012
Decreased operation cost for DSO

---
System Architecture
EDN Virtual Tomography
Demad-Aware Price Policy
Price Policy Safety Verification

---
PPSV
Goal: Verify fairness and robustness of DAPP policies	w.r.t. grid safety

---
PPSV – Advancements wrt State of Art
Existing Monte Carlo approaches cannot be adopted since they only compute mean values while PPSV computes the probability distribution of aggregated demand

---
PPSV – Experimental Results
Users may deviate up to 40% from DAPP proposed price policies, with probability 60%
1 GB RAM at most
Fig. shows DAPP output robustness
If users deviate, probability of safety violation low
PPSV output sent back to EVT for final verification
Probability distributions of the power aggregated demand on February 2013
[Speaker Notes: DAPP follows a Demand Response approach, based on the Inclining Block Rate approach DAPP synthesizes price policies starting from system level formal specifications DAPP is based on a centralized algorithm which computes all required price policies. DAPP assigns to each user a different price policy DAPP considers local generation DAPP uses an LP based approach mechanism used by DAPP to encourage users to follow such a suggested behaviour is pricing [Vlot et al., IEEE TSG, 2013] Demand Side Management [Reiss and White, RevEconStudies, 2005] Inclining Block Rate [Mari et al., ACM TOSEM, 2014], [Alimguzhin et al., CDC, 2012], [Alimguzhin et al., SPIN, 2013, 1], [Alimguzhin et al., SPIN, 2013, 2] Synthesis from SLF specs [Wang and Wang, IEEE TSG, 2013] distributed algorithms and architectures for price policy computation [Kunwar and Kumar, IEEE TSG, 2013] centralized (Neural Network based) approach similar to the one in DAPP, but unique profile for all users, does not consider local generation, and not LP based [Thimmapuram and Kim, IEEE TSG, 2013] how to decide pricing basing on social and economical considerations]

---
System Architecture
EDN Virtual Tomography
Demad-Aware Price Policy
Price Policy Safety Verification

---
EVT
Goal: Detects possible violations of network constraints	in	the whole EDN, and computes operational	constraints on several EDN components, in order to	improve EDN usage

---
EVT – Advancements wrt State of Art
EVT employs state estimation to the EDN to accurately determine the grid state, and then uses this information to provide warnings, alarms and recommendations to the DSO
[Speaker Notes: The EVT service developed in this paper employs state estimation to the EDN in order to accurately determine the grid state, and then uses this information to provide warnings, alarms and recommendations to the DSO. [Meliopoulos et al., IEEE TSG, 2013] Network management techniques [Huang et al., IEEE SPM, 2012] State estimation has been applied for decades to improve network observability and reduce impact of errors [Manitsas et al., IEEE TPS, 2012] Developing state estimators specifically for use in EDNs [Haughton and Heydt, IEEE TPS, 2013], [Hayes et al., 2014] distribution management system, designed to monitor and optimise the energy flows and operation of active EDNs with significant Distributed Energy Resources (DER)]

---
EVT – Experimental Results
February 2013, after using DAPP
On worst case scenario by PPSV
February 2013, before using DAPP
Green: Active power flows
96% with DAPP and PPSV vs 103% without
Blue: Reactive power flows
EVT is set up to issue a warning to the DSO when any branch flow exceeds 80%
An alarm is issued if any branch flow exceeds its thermal constraint, i.e. 100%
[Speaker Notes: DAPP follows a Demand Response approach, based on the Inclining Block Rate approach DAPP synthesizes price policies starting from system level formal specifications DAPP is based on a centralized algorithm which computes all required price policies. DAPP assigns to each user a different price policy DAPP considers local generation DAPP uses an LP based approach mechanism used by DAPP to encourage users to follow such a suggested behaviour is pricing [Vlot et al., IEEE TSG, 2013] Demand Side Management [Reiss and White, RevEconStudies, 2005] Inclining Block Rate [Mari et al., ACM TOSEM, 2014], [Alimguzhin et al., CDC, 2012], [Alimguzhin et al., SPIN, 2013, 1], [Alimguzhin et al., SPIN, 2013, 2] Synthesis from SLF specs [Wang and Wang, IEEE TSG, 2013] distributed algorithms and architectures for price policy computation [Kunwar and Kumar, IEEE TSG, 2013] centralized (Neural Network based) approach similar to the one in DAPP, but unique profile for all users, does not consider local generation, and not LP based [Thimmapuram and Kim, IEEE TSG, 2013] how to decide pricing basing on social and economical considerations]

---
Conclusions
- We have presented a novel service-based methodology to improve EDN management s.t.
  - Residential users are able to lower down their energy bills
  - Retailer and DSO are able to sell as much energy as possible
  - EDN overloading avoided

---
Future Work
- Improve our services
  - DAPP
    Investigate price policies that explicitly take into account users energy storage capabilities
  - PPSV
    Devise parallel verification approaches
  - EVT
    Refine methods for dealing with bad data and missing measurements in the input data

---
Thanks